## PotentialSummary
Product | Planning Costs ($/kW-yr) | Construction Costs ($/kW-yr) | Fixed O&M Costs ($/kW-yr) | Variable O&M ($/kW-yr) | Total Levelized Cost ($/kW-yr) | Winter Portion of Impact | Summer Portion of Impact | Max Potential (MW) | Bin Designation | Winter Max MW | Summer Max MW | [6 empty] | Bin Designation | Max Cost ($/kW-yr levelized)
NRCurtailCom | 0.18386 | 0.92 | 16.2276 | 150 | 17.3307 | 85.89% | 100% | 38.6883 | Bin 2 | 33.2301 | 38.6883 | [6 empty] | Bin 1 | 10
NRCurtailInd | 0.04 | 0.91 | 10.2276 | 150 | 11.1801 | 86.82% | 100% | 174.0573 | Bin 2 | 151.1112 | 174.0573 | [6 empty] | Bin 2 | 20
NRIrrLg | 0.04 | 0.24 | 3.7276 | 150 | 4.002 | 0% | 100% | 393.7096 | Bin 1 | 0 | 393.7096 | [6 empty] | Bin 3 | 70
NRIrrSmMed | 0.03 | 0.99 | 4.7276 | 150 | 5.7489 | 0% | 100% | 464.0148 | Bin 1 | 0 | 464.0148 | [6 empty] | Bin 4 | 1000
ComCPP | 0.070373 | 4.0404 | -9.274 | 150 | -5.1646 | 41.05% | 100% | 134.0587 | Bin 1 | 55.0351 | 134.0587
IndCPP | 0.081627 | 11.3328 | -9.208 | 150 | 2.1987 | 44.71% | 100% | 108.6901 | Bin 1 | 48.594 | 108.6901
DVR | 0.01 | 4.82 | -4.7724 | 150 | 0.061329 | 95.94% | 100% | 560.8752 | Bin 1 | 538.1002 | 560.8752
IndRTP | 0.34887 | 11.3328 | -7.2442 | 150 | 4.4387 | 44.71% | 100% | 24.1534 | Bin 1 | 10.7987 | 24.1534
ResCPP | 0.036642 | 10.3003 | -9.5294 | 150 | 0.80484 | 49.72% | 100% | 251.4169 | Bin 1 | 125.0047 | 251.4169
ResTOU | 0.041863 | 23.7904 | -9.4735 | 150 | 14.3596 | 42.16% | 100% | 214.0061 | Bin 2 | 90.2256 | 214.0061
NRCoolSwchMed | 0.14 | 14.51 | -2.9224 | 150 | 11.7245 | 0% | 100% | 48.1469 | Bin 2 | 0 | 48.1469
NRHeatSwchMed | 0.43 | 12.67 | -1.2624 | 150 | 11.846 | 100% | 0% | 16.2865 | Bin 2 | 16.2865 | 0
NRCoolSwchSm | 0.43 | 56.63 | 24.7075 | 150 | 81.7628 | 0% | 100% | 15.1663 | Bin 4 | 0 | 15.1663
NRHeatSwchSm | 0.38 | 23.04 | 12.4376 | 150 | 35.8583 | 100% | 0% | 17.0594 | Bin 3 | 17.0594 | 0
NRTstatSm | 0.3517 | 7.7923 | 19.1275 | 150 | 27.2765 | 60.61% | 100% | 23.0021 | Bin 3 | 13.9409 | 23.0021
ResACSwch | 0.05 | 52.23 | 24.4376 | 150 | 76.7225 | 0% | 100% | 194.1305 | Bin 4 | 0 | 194.1305
ResHeatSwitch | 0.02 | 27.74 | 7.7175 | 150 | 35.4731 | 100% | 0% | 548.9468 | Bin 3 | 548.9468 | 0
ResBYOT | 0.13236 | 10.1042 | 2.5795 | 150 | 12.8031 | 70.11% | 100% | 63.0864 | Bin 2 | 44.2298 | 63.0864
ResERWHDLCSwch | 0.024 | 45.422 | 16.8476 | 150 | 62.2984 | 100% | 66.67% | 114.7834 | Bin 3 | 114.7834 | 76.5223
ResERWHDLCGrd | 0.01 | 16.69 | 25.9875 | 150 | 42.6934 | 100% | 100% | 867.2523 | Bin 3 | 867.2523 | 867.2523
ResEVSEDLCSwch | 0.21 | 108.51 | 26.9376 | 150 | 135.6579 | 100% | 100% | 72.325 | Bin 4 | 72.325 | 72.325
ResHPWHDLCSwch | 2.4243 | 162.2357 | 85.3018 | 150 | 249.9636 | 100% | 75% | 1.1069 | Bin 4 | 1.1069 | 0.83016
ResHPWHDLCGrd | 1.1167 | 55.65 | 109.4242 | 150 | 166.1878 | 100% | 50% | 12.5446 | Bin 4 | 12.5446 | 6.2723
|  | T & D deferral | 9.7724
Cumulative Potential (MW)
Product | Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
NRCurtailCom | Bin 2 | 6.9391 | 13.7819 | 20.5756 | 27.4269 | 34.3413 | 34.7539 | 34.2836 | 34.3272 | 34.6737 | 34.9703 | 35.3081 | 35.2144 | 35.8738 | 36.1229 | 36.6259 | 36.5642 | 37.0018 | 37.4375 | 37.9816 | 38.6883
NRCurtailInd | Bin 2 | 32.7514 | 65.9259 | 99.8103 | 134.4582 | 169.1929 | 169.6697 | 169.8364 | 169.9381 | 170.2241 | 170.8538 | 171.2331 | 171.2115 | 171.0796 | 171.2361 | 171.7106 | 172.5403 | 173.1424 | 173.387 | 173.7538 | 174.0573
NRIrrLg | Bin 1 | 55.8982 | 113.2295 | 177.929 | 242.2025 | 306.4704 | 309.7953 | 314.3615 | 318.323 | 324.3476 | 329.1572 | 333.512 | 338.6246 | 344.0005 | 351.4332 | 357.7714 | 363.9692 | 370.6788 | 377.6357 | 385.6138 | 393.7096
NRIrrSmMed | Bin 1 | 65.8801 | 133.449 | 209.702 | 285.453 | 361.1973 | 365.1158 | 370.4975 | 375.1664 | 382.2669 | 387.9353 | 393.0677 | 399.0933 | 405.4291 | 414.1891 | 421.6592 | 428.9637 | 436.8714 | 445.0707 | 454.4734 | 464.0148
ComCPP | Bin 1 | 24.0447 | 47.7556 | 71.2964 | 95.0368 | 118.9959 | 120.4256 | 118.796 | 118.947 | 120.1479 | 121.1754 | 122.346 | 122.0211 | 124.3063 | 125.1692 | 126.9123 | 126.6984 | 128.2148 | 129.7247 | 131.61 | 134.0587
IndCPP | Bin 1 | 20.4516 | 41.1674 | 62.3266 | 83.9625 | 105.6526 | 105.9503 | 106.0544 | 106.1179 | 106.2965 | 106.6897 | 106.9266 | 106.9131 | 106.8307 | 106.9284 | 107.2248 | 107.7428 | 108.1188 | 108.2716 | 108.5006 | 108.6901
DVR | Bin 1 | 50.4646 | 100.3055 | 151.0664 | 203.2031 | 250.847 | 311.1865 | 361.7371 | 407.5121 | 456.2105 | 516.7722 | 530.7476 | 520.1049 | 535.0397 | 546.052 | 545.1115 | 535.0375 | 546.1285 | 541.9753 | 555.5241 | 560.8752
IndRTP | Bin 1 | 4.5448 | 9.1483 | 13.8503 | 18.6583 | 23.4783 | 23.5445 | 23.5677 | 23.5818 | 23.6214 | 23.7088 | 23.7615 | 23.7585 | 23.7402 | 23.7619 | 23.8277 | 23.9429 | 24.0264 | 24.0604 | 24.1113 | 24.1534
ResCPP | Bin 1 | 45.364 | 90.0333 | 136.2342 | 184.3573 | 224.5734 | 236.7801 | 237.3271 | 230.7991 | 226.8851 | 233.6124 | 243.6619 | 235.0316 | 244.4296 | 252.3842 | 248.9934 | 240.5208 | 247.5763 | 241.8224 | 250.4654 | 251.4169
ResTOU | Bin 2 | 38.6138 | 76.6363 | 115.9626 | 156.9249 | 191.1569 | 201.5472 | 202.0129 | 196.4562 | 193.1246 | 198.8509 | 207.405 | 200.0589 | 208.0584 | 214.8295 | 211.9432 | 204.7313 | 210.737 | 205.8392 | 213.1961 | 214.0061
NRCoolSwchMed | Bin 2 | 7.261 | 14.7242 | 22.3489 | 30.1114 | 38.1317 | 38.7586 | 39.3397 | 39.9371 | 40.5603 | 41.1172 | 41.7328 | 42.4051 | 43.0195 | 43.7584 | 44.4292 | 45.1414 | 45.8883 | 46.7154 | 47.4281 | 48.1469
NRHeatSwchMed | Bin 2 | 2.3718 | 4.827 | 7.3431 | 9.9118 | 12.5722 | 12.8016 | 13.0093 | 13.2279 | 13.4592 | 13.665 | 13.8953 | 14.14 | 14.3664 | 14.6398 | 14.8887 | 15.161 | 15.44 | 15.7504 | 16.0171 | 16.2865
NRCoolSwchSm | Bin 4 | 2.574 | 5.1855 | 7.8248 | 10.4853 | 13.2158 | 13.361 | 13.477 | 13.5838 | 13.6979 | 13.8113 | 13.9302 | 14.0515 | 14.1794 | 14.3279 | 14.4611 | 14.599 | 14.7395 | 14.8935 | 15.0401 | 15.1663
NRHeatSwchSm | Bin 3 | 2.9004 | 5.8449 | 8.8203 | 11.8208 | 14.8986 | 15.0597 | 15.1859 | 15.3031 | 15.4286 | 15.5516 | 15.6818 | 15.8146 | 15.955 | 16.1207 | 16.269 | 16.4244 | 16.5813 | 16.7537 | 16.9171 | 17.0594
NRTstatSm | Bin 3 | 3.9039 | 7.8646 | 11.8675 | 15.9027 | 20.0438 | 20.264 | 20.44 | 20.6019 | 20.775 | 20.947 | 21.1273 | 21.3113 | 21.5053 | 21.7305 | 21.9325 | 22.1416 | 22.3548 | 22.5883 | 22.8107 | 23.0021
ResACSwch | Bin 4 | 32.2427 | 65.21 | 98.8886 | 133.2737 | 168.3331 | 170.0279 | 171.7106 | 173.4082 | 175.1371 | 176.8797 | 178.5933 | 180.321 | 182.0752 | 183.8431 | 185.5809 | 187.3121 | 189.0365 | 190.7376 | 192.4366 | 194.1305
ResHeatSwitch | Bin 3 | 92.6773 | 187.256 | 283.7042 | 382.0105 | 482.1012 | 486.5781 | 491.0179 | 495.4729 | 499.9792 | 504.5104 | 508.9685 | 513.4442 | 517.9639 | 522.506 | 526.9788 | 531.433 | 535.8647 | 540.2409 | 544.6042 | 548.9468
ResBYOT | Bin 2 | 10.8477 | 21.9025 | 33.1845 | 44.6659 | 56.3407 | 56.8361 | 57.33 | 57.7957 | 58.2708 | 58.7364 | 59.1991 | 59.6646 | 60.1106 | 60.5622 | 60.9987 | 61.426 | 61.8583 | 62.272 | 62.6798 | 63.0864
ResERWHDLCSwch | Bin 3 | 119.4374 | 226.5792 | 320.8125 | 401.5761 | 468.2195 | 433.4101 | 397.6642 | 361.0291 | 323.5453 | 285.2142 | 245.9566 | 205.8437 | 164.8893 | 123.0863 | 109.6567 | 110.7028 | 111.7403 | 112.7623 | 113.7778 | 114.7834
ResERWHDLCGrd | Bin 3 | 4.1908 | 18.6695 | 43.8057 | 79.9675 | 127.4964 | 186.6997 | 257.92 | 341.5017 | 437.8188 | 547.2402 | 609.0353 | 671.9496 | 736.0277 | 801.2679 | 828.5176 | 836.4215 | 844.2597 | 851.9821 | 859.6543 | 867.2523
ResEVSEDLCSwch | Bin 4 | 0.9233 | 2.2962 | 4.3023 | 7.0059 | 10.5193 | 12.4804 | 14.639 | 17.0384 | 19.695 | 22.6303 | 25.8608 | 29.4323 | 33.3378 | 37.6202 | 42.3219 | 47.4088 | 52.9334 | 58.9155 | 65.3809 | 72.325
ResHPWHDLCSwch | Bin 4 | 1.1518 | 2.185 | 3.0937 | 3.8725 | 4.5151 | 4.1795 | 3.8348 | 3.4815 | 3.12 | 2.7504 | 2.3718 | 1.985 | 1.5901 | 1.1869 | 1.0574 | 1.0675 | 1.0775 | 1.0874 | 1.0972 | 1.1069
ResHPWHDLCGrd | Bin 4 | 0.060619 | 0.27005 | 0.63364 | 1.1567 | 1.8442 | 2.7006 | 3.7308 | 4.9398 | 6.333 | 7.9157 | 8.8096 | 9.7196 | 10.6465 | 11.5902 | 11.9844 | 12.0987 | 12.2121 | 12.3238 | 12.4347 | 12.5446
Winter Potential (MW)
Product | Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
NRCurtailCom | Bin 2 | 0 | 11.8375 | 17.6728 | 23.5575 | 29.4964 | 29.8508 | 29.4469 | 29.4843 | 29.7819 | 30.0366 | 30.3268 | 30.2463 | 30.8127 | 31.0266 | 31.4587 | 31.4057 | 31.7815 | 32.1558 | 32.6231 | 33.2301
NRCurtailInd | Bin 2 | 28.4338 | 57.2348 | 86.6522 | 116.7325 | 146.8881 | 147.3021 | 147.4468 | 147.5351 | 147.7834 | 148.3301 | 148.6594 | 148.6406 | 148.5261 | 148.6619 | 149.074 | 149.7942 | 150.317 | 150.5293 | 150.8478 | 151.1112
NRIrrLg | Bin 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRIrrSmMed | Bin 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ComCPP | Bin 1 | 9.8711 | 19.6051 | 29.2693 | 39.0154 | 48.8514 | 49.4383 | 48.7693 | 48.8313 | 49.3243 | 49.7461 | 50.2267 | 50.0933 | 51.0315 | 51.3857 | 52.1013 | 52.0135 | 52.636 | 53.2559 | 54.0298 | 55.0351
IndCPP | Bin 1 | 9.1437 | 18.4054 | 27.8654 | 37.5386 | 47.2359 | 47.369 | 47.4156 | 47.444 | 47.5238 | 47.6996 | 47.8055 | 47.7995 | 47.7626 | 47.8063 | 47.9388 | 48.1704 | 48.3385 | 48.4068 | 48.5092 | 48.594
DVR | Bin 1 | 48.4154 | 96.2324 | 144.9321 | 194.9518 | 240.6611 | 298.5504 | 347.0484 | 390.9646 | 437.6856 | 495.7881 | 509.196 | 498.9854 | 513.3138 | 523.879 | 522.9766 | 513.3117 | 523.9523 | 519.9678 | 532.9664 | 538.1002
IndRTP | Bin 1 | 2.0319 | 4.0901 | 6.1923 | 8.3419 | 10.4969 | 10.5265 | 10.5368 | 10.5431 | 10.5608 | 10.5999 | 10.6234 | 10.6221 | 10.6139 | 10.6236 | 10.6531 | 10.7045 | 10.7419 | 10.7571 | 10.7798 | 10.7987
ResCPP | Bin 1 | 22.555 | 44.7646 | 67.7358 | 91.6626 | 111.6581 | 117.7272 | 117.9992 | 114.7535 | 112.8074 | 116.1523 | 121.1489 | 116.8579 | 121.5306 | 125.4856 | 123.7997 | 119.5871 | 123.0951 | 120.2343 | 124.5316 | 125.0047
ResTOU | Bin 2 | 16.2797 | 32.3101 | 48.8902 | 66.16 | 80.5923 | 84.9729 | 85.1692 | 82.8265 | 81.4219 | 83.8361 | 87.4426 | 84.3454 | 87.7181 | 90.5727 | 89.3559 | 86.3153 | 88.8473 | 86.7824 | 89.8841 | 90.2256
NRCoolSwchMed | Bin 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRHeatSwchMed | Bin 2 | 2.3718 | 4.827 | 7.3431 | 9.9118 | 12.5722 | 12.8016 | 13.0093 | 13.2279 | 13.4592 | 13.665 | 13.8953 | 14.14 | 14.3664 | 14.6398 | 14.8887 | 15.161 | 15.44 | 15.7504 | 16.0171 | 16.2865
NRCoolSwchSm | Bin 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRHeatSwchSm | Bin 3 | 2.9004 | 5.8449 | 8.8203 | 11.8208 | 14.8986 | 15.0597 | 15.1859 | 15.3031 | 15.4286 | 15.5516 | 15.6818 | 15.8146 | 15.955 | 16.1207 | 16.269 | 16.4244 | 16.5813 | 16.7537 | 16.9171 | 17.0594
NRTstatSm | Bin 3 | 2.3702 | 4.7765 | 7.2079 | 9.6599 | 12.1752 | 12.3068 | 12.4099 | 12.5057 | 12.6082 | 12.7088 | 12.8152 | 12.9237 | 13.0385 | 13.1738 | 13.295 | 13.422 | 13.5503 | 13.6911 | 13.8246 | 13.9409
ResACSwch | Bin 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ResHeatSwitch | Bin 3 | 92.6773 | 187.256 | 283.7042 | 382.0105 | 482.1012 | 486.5781 | 491.0179 | 495.4729 | 499.9792 | 504.5104 | 508.9685 | 513.4442 | 517.9639 | 522.506 | 526.9788 | 531.433 | 535.8647 | 540.2409 | 544.6042 | 548.9468
ResBYOT | Bin 2 | 7.6191 | 15.3806 | 23.2984 | 31.3536 | 39.5423 | 39.8836 | 40.2238 | 40.5448 | 40.8728 | 41.1947 | 41.5147 | 41.837 | 42.1468 | 42.4612 | 42.7656 | 43.0643 | 43.367 | 43.6572 | 43.9439 | 44.2298
ResERWHDLCSwch | Bin 3 | 119.4374 | 226.5792 | 320.8125 | 401.5761 | 468.2195 | 433.4101 | 397.6642 | 361.0291 | 323.5453 | 285.2142 | 245.9566 | 205.8437 | 164.8893 | 123.0863 | 109.6567 | 110.7028 | 111.7403 | 112.7623 | 113.7778 | 114.7834
ResERWHDLCGrd | Bin 3 | 4.1908 | 18.6695 | 43.8057 | 79.9675 | 127.4964 | 186.6997 | 257.92 | 341.5017 | 437.8188 | 547.2402 | 609.0353 | 671.9496 | 736.0277 | 801.2679 | 828.5176 | 836.4215 | 844.2597 | 851.9821 | 859.6543 | 867.2523
ResEVSEDLCSwch | Bin 4 | 0.9233 | 2.2962 | 4.3023 | 7.0059 | 10.5193 | 12.4804 | 14.639 | 17.0384 | 19.695 | 22.6303 | 25.8608 | 29.4323 | 33.3378 | 37.6202 | 42.3219 | 47.4088 | 52.9334 | 58.9155 | 65.3809 | 72.325
ResHPWHDLCSwch | Bin 4 | 1.1518 | 2.185 | 3.0937 | 3.8725 | 4.5151 | 4.1795 | 3.8348 | 3.4815 | 3.12 | 2.7504 | 2.3718 | 1.985 | 1.5901 | 1.1869 | 1.0574 | 1.0675 | 1.0775 | 1.0874 | 1.0972 | 1.1069
ResHPWHDLCGrd | Bin 4 | 0.060619 | 0.27005 | 0.63364 | 1.1567 | 1.8442 | 2.7006 | 3.7308 | 4.9398 | 6.333 | 7.9157 | 8.8096 | 9.7196 | 10.6465 | 11.5902 | 11.9844 | 12.0987 | 12.2121 | 12.3238 | 12.4347 | 12.5446
Summer Potential (MW)
Product | Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
NRCurtailCom | Bin 2 | 6.9391 | 13.7819 | 20.5756 | 27.4269 | 34.3413 | 34.7539 | 34.2836 | 34.3272 | 34.6737 | 34.9703 | 35.3081 | 35.2144 | 35.8738 | 36.1229 | 36.6259 | 36.5642 | 37.0018 | 37.4375 | 37.9816 | 38.6883
NRCurtailInd | Bin 2 | 32.7514 | 65.9259 | 99.8103 | 134.4582 | 169.1929 | 169.6697 | 169.8364 | 169.9381 | 170.2241 | 170.8538 | 171.2331 | 171.2115 | 171.0796 | 171.2361 | 171.7106 | 172.5403 | 173.1424 | 173.387 | 173.7538 | 174.0573
NRIrrLg | Bin 1 | 55.8982 | 113.2295 | 177.929 | 242.2025 | 306.4704 | 309.7953 | 314.3615 | 318.323 | 324.3476 | 329.1572 | 333.512 | 338.6246 | 344.0005 | 351.4332 | 357.7714 | 363.9692 | 370.6788 | 377.6357 | 385.6138 | 393.7096
NRIrrSmMed | Bin 1 | 65.8801 | 133.449 | 209.702 | 285.453 | 361.1973 | 365.1158 | 370.4975 | 375.1664 | 382.2669 | 387.9353 | 393.0677 | 399.0933 | 405.4291 | 414.1891 | 421.6592 | 428.9637 | 436.8714 | 445.0707 | 454.4734 | 464.0148
ComCPP | Bin 1 | 24.0447 | 47.7556 | 71.2964 | 95.0368 | 118.9959 | 120.4256 | 118.796 | 118.947 | 120.1479 | 121.1754 | 122.346 | 122.0211 | 124.3063 | 125.1692 | 126.9123 | 126.6984 | 128.2148 | 129.7247 | 131.61 | 134.0587
IndCPP | Bin 1 | 20.4516 | 41.1674 | 62.3266 | 83.9625 | 105.6526 | 105.9503 | 106.0544 | 106.1179 | 106.2965 | 106.6897 | 106.9266 | 106.9131 | 106.8307 | 106.9284 | 107.2248 | 107.7428 | 108.1188 | 108.2716 | 108.5006 | 108.6901
DVR | Bin 1 | 50.4646 | 100.3055 | 151.0664 | 203.2031 | 250.847 | 311.1865 | 361.7371 | 407.5121 | 456.2105 | 516.7722 | 530.7476 | 520.1049 | 535.0397 | 546.052 | 545.1115 | 535.0375 | 546.1285 | 541.9753 | 555.5241 | 560.8752
IndRTP | Bin 1 | 4.5448 | 9.1483 | 13.8503 | 18.6583 | 23.4783 | 23.5445 | 23.5677 | 23.5818 | 23.6214 | 23.7088 | 23.7615 | 23.7585 | 23.7402 | 23.7619 | 23.8277 | 23.9429 | 24.0264 | 24.0604 | 24.1113 | 24.1534
ResCPP | Bin 1 | 45.364 | 90.0333 | 136.2342 | 184.3573 | 224.5734 | 236.7801 | 237.3271 | 230.7991 | 226.8851 | 233.6124 | 243.6619 | 235.0316 | 244.4296 | 252.3842 | 248.9934 | 240.5208 | 247.5763 | 241.8224 | 250.4654 | 251.4169
ResTOU | Bin 2 | 38.6138 | 76.6363 | 115.9626 | 156.9249 | 191.1569 | 201.5472 | 202.0129 | 196.4562 | 193.1246 | 198.8509 | 207.405 | 200.0589 | 208.0584 | 214.8295 | 211.9432 | 204.7313 | 210.737 | 205.8392 | 213.1961 | 214.0061
NRCoolSwchMed | Bin 2 | 7.261 | 14.7242 | 22.3489 | 30.1114 | 38.1317 | 38.7586 | 39.3397 | 39.9371 | 40.5603 | 41.1172 | 41.7328 | 42.4051 | 43.0195 | 43.7584 | 44.4292 | 45.1414 | 45.8883 | 46.7154 | 47.4281 | 48.1469
NRHeatSwchMed | Bin 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRCoolSwchSm | Bin 4 | 2.574 | 5.1855 | 7.8248 | 10.4853 | 13.2158 | 13.361 | 13.477 | 13.5838 | 13.6979 | 13.8113 | 13.9302 | 14.0515 | 14.1794 | 14.3279 | 14.4611 | 14.599 | 14.7395 | 14.8935 | 15.0401 | 15.1663
NRHeatSwchSm | Bin 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NRTstatSm | Bin 3 | 3.9039 | 7.8646 | 11.8675 | 15.9027 | 20.0438 | 20.264 | 20.44 | 20.6019 | 20.775 | 20.947 | 21.1273 | 21.3113 | 21.5053 | 21.7305 | 21.9325 | 22.1416 | 22.3548 | 22.5883 | 22.8107 | 23.0021
ResACSwch | Bin 4 | 32.2427 | 65.21 | 98.8886 | 133.2737 | 168.3331 | 170.0279 | 171.7106 | 173.4082 | 175.1371 | 176.8797 | 178.5933 | 180.321 | 182.0752 | 183.8431 | 185.5809 | 187.3121 | 189.0365 | 190.7376 | 192.4366 | 194.1305
ResHeatSwitch | Bin 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ResBYOT | Bin 2 | 10.8477 | 21.9025 | 33.1845 | 44.6659 | 56.3407 | 56.8361 | 57.33 | 57.7957 | 58.2708 | 58.7364 | 59.1991 | 59.6646 | 60.1106 | 60.5622 | 60.9987 | 61.426 | 61.8583 | 62.272 | 62.6798 | 63.0864
ResERWHDLCSwch | Bin 3 | 79.6249 | 151.0528 | 213.875 | 267.7174 | 312.1463 | 288.9401 | 265.1095 | 240.6861 | 215.6969 | 190.1428 | 163.971 | 137.2291 | 109.9262 | 82.0576 | 73.1045 | 73.8019 | 74.4935 | 75.1749 | 75.8518 | 76.5223
ResERWHDLCGrd | Bin 3 | 4.1908 | 18.6695 | 43.8057 | 79.9675 | 127.4964 | 186.6997 | 257.92 | 341.5017 | 437.8188 | 547.2402 | 609.0353 | 671.9496 | 736.0277 | 801.2679 | 828.5176 | 836.4215 | 844.2597 | 851.9821 | 859.6543 | 867.2523
ResEVSEDLCSwch | Bin 4 | 0.9233 | 2.2962 | 4.3023 | 7.0059 | 10.5193 | 12.4804 | 14.639 | 17.0384 | 19.695 | 22.6303 | 25.8608 | 29.4323 | 33.3378 | 37.6202 | 42.3219 | 47.4088 | 52.9334 | 58.9155 | 65.3809 | 72.325
ResHPWHDLCSwch | Bin 4 | 0.86382 | 1.6387 | 2.3202 | 2.9044 | 3.3864 | 3.1346 | 2.8761 | 2.6111 | 2.34 | 2.0628 | 1.7789 | 1.4887 | 1.1925 | 0.89021 | 0.79308 | 0.80065 | 0.80815 | 0.81554 | 0.82289 | 0.83016
ResHPWHDLCGrd | Bin 4 | 0.030309 | 0.13503 | 0.31682 | 0.57836 | 0.92211 | 1.3503 | 1.8654 | 2.4699 | 3.1665 | 3.9579 | 4.4048 | 4.8598 | 5.3233 | 5.7951 | 5.9922 | 6.0493 | 6.106 | 6.1619 | 6.2174 | 6.2723
Product of Cost with Max Potential
Product | Planning Costs ($/kW-yr) * Max MW | Summer Potential (MW) 2022: Construction Costs ($/kW-yr) * Max MW; Summer Potential (MW) 2023: Fixed O&M Costs ($/kW-yr) * Max MW; Summer Potential (MW) 2024: Variable O&M ($/kW-yr) * Max MW; Summer Potential (MW) 2025: Total Levelized Cost ($/kW-yr) * Max MW; Summer Potential (MW) 2026: Bin
NRCurtailCom | 7.1133 | Summer Potential (MW) 2022: 35.5932; Summer Potential (MW) 2023: 627.8163; Summer Potential (MW) 2024: 5803.2444; Summer Potential (MW) 2025: 670.4937; Summer Potential (MW) 2026: Bin 2
NRCurtailInd | 6.9623 | Summer Potential (MW) 2022: 158.3921; Summer Potential (MW) 2023: 1780.1796; Summer Potential (MW) 2024: 26108.5926; Summer Potential (MW) 2025: 1945.9692; Summer Potential (MW) 2026: Bin 2
NRIrrLg | 15.7484 | Summer Potential (MW) 2022: 94.4903; Summer Potential (MW) 2023: 1467.572; Summer Potential (MW) 2024: 59056.4326; Summer Potential (MW) 2025: 1575.6426; Summer Potential (MW) 2026: Bin 1
NRIrrSmMed | 13.9204 | Summer Potential (MW) 2022: 459.3747; Summer Potential (MW) 2023: 2193.6533; Summer Potential (MW) 2024: 69602.2241; Summer Potential (MW) 2025: 2667.5827; Summer Potential (MW) 2026: Bin 1
ComCPP | 9.4341 | Summer Potential (MW) 2022: 541.6482; Summer Potential (MW) 2023: -1243.2626; Summer Potential (MW) 2024: 20108.806; Summer Potential (MW) 2025: -692.3653; Summer Potential (MW) 2026: Bin 1
IndCPP | 8.872 | Summer Potential (MW) 2022: 1231.7657; Summer Potential (MW) 2023: -1000.8156; Summer Potential (MW) 2024: 16303.5197; Summer Potential (MW) 2025: 238.9777; Summer Potential (MW) 2026: Bin 1
DVR | 5.6088 | Summer Potential (MW) 2022: 2703.4182; Summer Potential (MW) 2023: -2676.7486; Summer Potential (MW) 2024: 84131.2726; Summer Potential (MW) 2025: 34.3981; Summer Potential (MW) 2026: Bin 1
IndRTP | 8.4263 | Summer Potential (MW) 2022: 273.7257; Summer Potential (MW) 2023: -174.972; Summer Potential (MW) 2024: 3623.0044; Summer Potential (MW) 2025: 107.2093; Summer Potential (MW) 2026: Bin 1
ResCPP | 9.2124 | Summer Potential (MW) 2022: 2589.6641; Summer Potential (MW) 2023: -2395.8407; Summer Potential (MW) 2024: 37712.5372; Summer Potential (MW) 2025: 202.3513; Summer Potential (MW) 2026: Bin 1
ResTOU | 8.9589 | Summer Potential (MW) 2022: 5091.2891; Summer Potential (MW) 2023: -2027.3822; Summer Potential (MW) 2024: 32100.9117; Summer Potential (MW) 2025: 3073.0474; Summer Potential (MW) 2026: Bin 2
NRCoolSwchMed | 6.7406 | Summer Potential (MW) 2022: 698.6114; Summer Potential (MW) 2023: -140.7069; Summer Potential (MW) 2024: 7222.0339; Summer Potential (MW) 2025: 564.4961; Summer Potential (MW) 2026: Bin 2
NRHeatSwchMed | 7.0032 | Summer Potential (MW) 2022: 206.3506; Summer Potential (MW) 2023: -20.561; Summer Potential (MW) 2024: 2442.9821; Summer Potential (MW) 2025: 192.9306; Summer Potential (MW) 2026: Bin 2
NRCoolSwchSm | 6.5215 | Summer Potential (MW) 2022: 858.8702; Summer Potential (MW) 2023: 374.7233; Summer Potential (MW) 2024: 2274.952; Summer Potential (MW) 2025: 1240.0422; Summer Potential (MW) 2026: Bin 4
NRHeatSwchSm | 6.4826 | Summer Potential (MW) 2022: 393.0481; Summer Potential (MW) 2023: 212.1769; Summer Potential (MW) 2024: 2558.9068; Summer Potential (MW) 2025: 611.7206; Summer Potential (MW) 2026: Bin 3
NRTstatSm | 8.0898 | Summer Potential (MW) 2022: 179.2384; Summer Potential (MW) 2023: 439.9744; Summer Potential (MW) 2024: 3450.3199; Summer Potential (MW) 2025: 627.4178; Summer Potential (MW) 2026: Bin 3
ResACSwch | 9.7065 | Summer Potential (MW) 2022: 10139.4342; Summer Potential (MW) 2023: 4744.0729; Summer Potential (MW) 2024: 29119.5697; Summer Potential (MW) 2025: 14894.1828; Summer Potential (MW) 2026: Bin 4
ResHeatSwitch | 10.9789 | Summer Potential (MW) 2022: 15227.7854; Summer Potential (MW) 2023: 4236.5247; Summer Potential (MW) 2024: 82342.0265; Summer Potential (MW) 2025: 19472.8736; Summer Potential (MW) 2026: Bin 3
ResBYOT | 8.3504 | Summer Potential (MW) 2022: 637.4358; Summer Potential (MW) 2023: 162.7298; Summer Potential (MW) 2024: 9462.9598; Summer Potential (MW) 2025: 807.7029; Summer Potential (MW) 2026: Bin 2
ResERWHDLCSwch | 2.7548 | Summer Potential (MW) 2022: 5213.691; Summer Potential (MW) 2023: 1933.8188; Summer Potential (MW) 2024: 17217.508; Summer Potential (MW) 2025: 7150.8169; Summer Potential (MW) 2026: Bin 3
ResERWHDLCGrd | 8.6725 | Summer Potential (MW) 2022: 14474.4401; Summer Potential (MW) 2023: 22537.7613; Summer Potential (MW) 2024: 130087.8381; Summer Potential (MW) 2025: 37025.946; Summer Potential (MW) 2026: Bin 3
ResEVSEDLCSwch | 15.1883 | Summer Potential (MW) 2022: 7847.9889; Summer Potential (MW) 2023: 1948.2591; Summer Potential (MW) 2024: 10848.7544; Summer Potential (MW) 2025: 9811.4613; Summer Potential (MW) 2026: Bin 4
ResHPWHDLCSwch | 2.6834 | Summer Potential (MW) 2022: 179.5756; Summer Potential (MW) 2023: 94.419; Summer Potential (MW) 2024: 166.0321; Summer Potential (MW) 2025: 276.6799; Summer Potential (MW) 2026: Bin 4
ResHPWHDLCGrd | 14.0082 | Summer Potential (MW) 2022: 698.1098; Summer Potential (MW) 2023: 1372.6885; Summer Potential (MW) 2024: 1881.6975; Summer Potential (MW) 2025: 2084.7683; Summer Potential (MW) 2026: Bin 4
Note on B3: Tina Jayaweera: Setup Costs
Note on C3: Tina Jayaweera: Equipment + Marketing + One-time incentive
Note on D3: Tina Jayaweera: O&M Cost + Fixed incentive
Note on E3: Tina Jayaweera: Variable incentive- this was discussed at DRAC for the nonres products, and would need to be added to all products. It represents dispatch cost.
Note on D28: Tina Jayaweera: See for T&D deferral values, see: https://nwcouncil.app.box.com/s/wnuyrgujhixhwwxod3d7y2do907p5od0 D value excludes T losses
Note on B116: Tina Jayaweera: Setup Costs
Note on C116: Tina Jayaweera: O&M Cost + Fixed incentive
Note on D116: Tina Jayaweera: Equipment + Marketing + One-time incentive
Note on E116: Tina Jayaweera: Variable incentive

## BinTests
Product | Bin Designation | Cumulative | Total Levelized Cost ($/kW-yr) | Max Potential (MW) | Winter Max MW | Summer Max MW |  | StDev | Average | Potential | StDev/Avg
ComCPP | Bin 1 | 134.0587 | -5.1646 | 134.0587 | 55.0351 | 134.0587 | Bin 1 | 3.6526 | 2.1342 | 1936.9186 | 1.7114
DVR | Bin 1 | 694.9339 | 0.061329 | 560.8752 | 538.1002 | 560.8752 | Bin 2 | 2.3089 | 13.0886 | 554.2715 | 0.17641
ResCPP | Bin 1 | 946.3508 | 0.80484 | 251.4169 | 125.0047 | 251.4169 | Bin 3 | 13.2421 | 41.303 | 1571.044 | 0.32061
IndCPP | Bin 1 | 1055.0409 | 2.1987 | 108.6901 | 48.594 | 108.6901 | Bin 4 | 71.0124 | 95.8675 | 295.2734 | 0.74073
NRIrrLg | Bin 1 | 1448.7505 | 4.002 | 393.7096 | 0 | 393.7096
IndRTP | Bin 1 | 1472.9038 | 4.4387 | 24.1534 | 10.7987 | 24.1534
NRIrrSmMed | Bin 1 | 1936.9186 | 5.7489 | 464.0148 | 0 | 464.0148
NRCurtailInd | Bin 2 | 2110.9759 | 11.1801 | 174.0573 | 151.1112 | 174.0573
NRCoolSwchMed | Bin 2 | 2159.1228 | 11.7245 | 48.1469 | 0 | 48.1469
NRHeatSwchMed | Bin 2 | 2175.4094 | 11.846 | 16.2865 | 16.2865 | 0
ResBYOT | Bin 2 | 2238.4958 | 12.8031 | 63.0864 | 44.2298 | 63.0864
ResTOU | Bin 2 | 2452.5018 | 14.3596 | 214.0061 | 90.2256 | 214.0061
NRCurtailCom | Bin 2 | 2491.1901 | 17.3307 | 38.6883 | 33.2301 | 38.6883
NRTstatSm | Bin 3 | 2514.1923 | 27.2765 | 23.0021 | 13.9409 | 23.0021
ResHeatSwitch | Bin 3 | 3063.1391 | 35.4731 | 548.9468 | 548.9468 | 0
NRHeatSwchSm | Bin 3 | 3080.1985 | 35.8583 | 17.0594 | 17.0594 | 0
ResERWHDLCGrd | Bin 3 | 3947.4507 | 42.6934 | 867.2523 | 867.2523 | 867.2523
ResERWHDLCSwch | Bin 3 | 4062.2341 | 62.2984 | 114.7834 | 114.7834 | 76.5223
ResACSwch | Bin 4 | 4256.3646 | 76.7225 | 194.1305 | 0 | 194.1305
NRCoolSwchSm | Bin 4 | 4271.5309 | 81.7628 | 15.1663 | 0 | 15.1663
ResEVSEDLCSwch | Bin 4 | 4343.856 | 135.6579 | 72.325 | 72.325 | 72.325
ResHPWHDLCGrd | Bin 4 | 4356.4006 | 166.1878 | 12.5446 | 12.5446 | 6.2723
ResHPWHDLCSwch | Bin 4 | 4357.5075 | 249.9636 | 1.1069 | 1.1069 | 0.83016

## Reporter Outputs
Summer Potential
Product | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | LEVELIZED COST | Winter 2041 Pot | Winter lev cost | Ratio of summer to winter lev costs | Setup ($/kW-yr) | Equip+Marketing+One-Time ($/kW-yr) | O&M +Incentive ($/kW-yr)
NRCurtailCom | 6.9391 | 13.7819 | 20.5756 | 27.4269 | 34.3413 | 34.7539 | 34.2836 | 34.3272 | 34.6737 | 34.9703 | 35.3081 | 35.2144 | 35.8738 | 36.1229 | 36.6259 | 36.5642 | 37.0018 | 37.4375 | 37.9816 | 38.6883 | 27.0903 | 33.2301 | 27.1181 | 1.0005 | 0.17 | 0.92 | 26 | TRUE
NRCurtailInd | 32.7514 | 65.9259 | 99.8103 | 134.4582 | 169.1929 | 169.6697 | 169.8364 | 169.9381 | 170.2241 | 170.8538 | 171.2331 | 171.2115 | 171.0796 | 171.2361 | 171.7106 | 172.5403 | 173.1424 | 173.387 | 173.7538 | 174.0573 | 20.95 | 151.1112 | 20.9554 | 1.0001 | 0.04 | 0.91 | 20 | TRUE
NRIrrLg | 55.8982 | 113.2295 | 177.929 | 242.2025 | 306.4704 | 309.7953 | 314.3615 | 318.323 | 324.3476 | 329.1572 | 333.512 | 338.6246 | 344.0005 | 351.4332 | 357.7714 | 363.9692 | 370.6788 | 377.6357 | 385.6138 | 393.7096 | 13.7745 | 0 | 0 |  | 0.04 | 0.24 | 13.5 | TRUE
NRIrrSmMed | 65.8801 | 133.449 | 209.702 | 285.453 | 361.1973 | 365.1158 | 370.4975 | 375.1664 | 382.2669 | 387.9353 | 393.0677 | 399.0933 | 405.4291 | 414.1891 | 421.6592 | 428.9637 | 436.8714 | 445.0707 | 454.4734 | 464.0148 | 15.5214 | 0 | 0 |  | 0.03 | 0.99 | 14.5 | TRUE
DVR | 50.4646 | 100.3055 | 151.0664 | 203.2031 | 250.847 | 311.1865 | 361.7371 | 407.5121 | 456.2105 | 516.7722 | 530.7476 | 520.1049 | 535.0397 | 546.052 | 545.1115 | 535.0375 | 546.1285 | 541.9753 | 555.5241 | 560.8752 | 9.8335 | 538.1002 | 9.8341 | 1 | 0.01 | 4.82 | 5 | TRUE
IndRTP | 4.5448 | 9.1483 | 13.8503 | 18.6583 | 23.4783 | 23.5445 | 23.5677 | 23.5818 | 23.6214 | 23.7088 | 23.7615 | 23.7585 | 23.7402 | 23.7619 | 23.8277 | 23.9429 | 24.0264 | 24.0604 | 24.1113 | 24.1534 | 10.2824 | 10.7987 | 22.9986 | 1.3821 | 0.25 | 8.2 | 1.83 | TRUE
ResCPP | 45.364 | 90.0333 | 136.2342 | 184.3573 | 224.5734 | 236.7801 | 237.3271 | 230.7991 | 226.8851 | 233.6124 | 243.6619 | 235.0316 | 244.4296 | 252.3842 | 248.9934 | 240.5208 | 247.5763 | 241.8224 | 250.4654 | 251.4169 | 7.9182 | 125.0047 | 15.9255 | 1.3358 | 0.03 | 7.71 | 0.18 | TRUE
ResTOU | 38.6138 | 76.6363 | 115.9626 | 156.9249 | 191.1569 | 201.5472 | 202.0129 | 196.4562 | 193.1246 | 198.8509 | 207.405 | 200.0589 | 208.0584 | 214.8295 | 211.9432 | 204.7313 | 210.737 | 205.8392 | 213.1961 | 214.0061 | 17.1531 | 90.2256 | 40.6855 | 1.4069 | 0.03 | 16.91 | 0.21 | TRUE
NRCoolSwchMed | 7.261 | 14.7242 | 22.3489 | 30.1114 | 38.1317 | 38.7586 | 39.3397 | 39.9371 | 40.5603 | 41.1172 | 41.7328 | 42.4051 | 43.0195 | 43.7584 | 44.4292 | 45.1414 | 45.8883 | 46.7154 | 47.4281 | 48.1469 | 21.4969 | 0 | 0 |  | 0.14 | 14.51 | 6.85 | TRUE
NRCoolSwchSm | 2.574 | 5.1855 | 7.8248 | 10.4853 | 13.2158 | 13.361 | 13.477 | 13.5838 | 13.6979 | 13.8113 | 13.9302 | 14.0515 | 14.1794 | 14.3279 | 14.4611 | 14.599 | 14.7395 | 14.8935 | 15.0401 | 15.1663 | 91.5352 | 0 | 0 |  | 0.43 | 56.63 | 34.48 | TRUE
ComCPP | 24.0447 | 47.7556 | 71.2964 | 95.0368 | 118.9959 | 120.4256 | 118.796 | 118.947 | 120.1479 | 121.1754 | 122.346 | 122.0211 | 124.3063 | 125.1692 | 126.9123 | 126.6984 | 128.2148 | 129.7247 | 131.61 | 134.0587 | 3.2497 | 55.0351 | 7.9159 | 1.4179 | 0.05 | 2.85 | 0.35 | TRUE
IndCPP | 20.4516 | 41.1674 | 62.3266 | 83.9625 | 105.6526 | 105.9503 | 106.0544 | 106.1179 | 106.2965 | 106.6897 | 106.9266 | 106.9131 | 106.8307 | 106.9284 | 107.2248 | 107.7428 | 108.1188 | 108.2716 | 108.5006 | 108.6901 | 8.6617 | 48.594 | 19.3735 | 1.3821 | 0.06 | 8.2 | 0.41 | TRUE
NRTstatSm | 3.9039 | 7.8646 | 11.8675 | 15.9027 | 20.0438 | 20.264 | 20.44 | 20.6019 | 20.775 | 20.947 | 21.1273 | 21.3113 | 21.5053 | 21.7305 | 21.9325 | 22.1416 | 22.3548 | 22.5883 | 22.8107 | 23.0021 | 38.0188 | 13.9409 | 35.4488 | 0.97449 | 0.28 | 8.83 | 28.9 | TRUE
ResACSwch | 32.2427 | 65.21 | 98.8886 | 133.2737 | 168.3331 | 170.0279 | 171.7106 | 173.4082 | 175.1371 | 176.8797 | 178.5933 | 180.321 | 182.0752 | 183.8431 | 185.5809 | 187.3121 | 189.0365 | 190.7376 | 192.4366 | 194.1305 | 86.495 | 0 | 0 |  | 0.05 | 52.23 | 34.21 | TRUE
ResBYOT | 10.8477 | 21.9025 | 33.1845 | 44.6659 | 56.3407 | 56.8361 | 57.33 | 57.7957 | 58.2708 | 58.7364 | 59.1991 | 59.6646 | 60.1106 | 60.5622 | 60.9987 | 61.426 | 61.8583 | 62.272 | 62.6798 | 63.0864 | 19.7707 | 44.2298 | 26.5762 | 1.1419 | 0.12 | 8.13 | 11.54 | TRUE
ResERWHDLCSwch | 79.6249 | 151.0528 | 213.875 | 267.7174 | 312.1463 | 288.9401 | 265.1095 | 240.6861 | 215.6969 | 190.1428 | 163.971 | 137.2291 | 109.9262 | 82.0576 | 73.1045 | 73.8019 | 74.4935 | 75.1749 | 75.8518 | 76.5223 | 90.0885 | 114.7834 | 60.059 | 0.8 | 0.03 | 56.78 | 33.28 | TRUE
ResERWHDLCGrd | 4.1908 | 18.6695 | 43.8057 | 79.9675 | 127.4964 | 186.6997 | 257.92 | 341.5017 | 437.8188 | 547.2402 | 609.0353 | 671.9496 | 736.0277 | 801.2679 | 828.5176 | 836.4215 | 844.2597 | 851.9821 | 859.6543 | 867.2523 | 52.4658 | 867.2523 | 52.4658 | 1 | 0.01 | 16.69 | 35.76 | TRUE
ResEVSEDLCSwch | 0.9233 | 2.2962 | 4.3023 | 7.0059 | 10.5193 | 12.4804 | 14.639 | 17.0384 | 19.695 | 22.6303 | 25.8608 | 29.4323 | 33.3378 | 37.6202 | 42.3219 | 47.4088 | 52.9334 | 58.9155 | 65.3809 | 72.325 | 145.4303 | 72.325 | 145.4303 | 1 | 0.21 | 108.51 | 36.71 | TRUE
ResHPWHDLCSwch | 0.86382 | 1.6387 | 2.3202 | 2.9044 | 3.3864 | 3.1346 | 2.8761 | 2.6111 | 2.34 | 2.0628 | 1.7789 | 1.4887 | 1.1925 | 0.89021 | 0.79308 | 0.80065 | 0.80815 | 0.81554 | 0.82289 | 0.83016 | 303.0254 | 1.1069 | 227.269 | 0.85714 | 2.83 | 189.27 | 110.92 | TRUE
ResHPWHDLCGrd | 0.030309 | 0.13503 | 0.31682 | 0.57836 | 0.92211 | 1.3503 | 1.8654 | 2.4699 | 3.1665 | 3.9579 | 4.4048 | 4.8598 | 5.3233 | 5.7951 | 5.9922 | 6.0493 | 6.106 | 6.1619 | 6.2174 | 6.2723 | 263.9404 | 12.5446 | 131.9702 | 0.66667 | 1.67 | 83.47 | 178.79 | TRUE
0
Winter Potential
Product | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | LEVELIZED COST
NRCurtailCom |  | 11.8375 | 17.6728 | 23.5575 | 29.4964 | 29.8508 | 29.4469 | 29.4843 | 29.7819 | 30.0366 | 30.3268 | 30.2463 | 30.8127 | 31.0266 | 31.4587 | 31.4057 | 31.7815 | 32.1558 | 32.6231 | 33.2301 | 27.1181 |  |  |  | 0.2 | 0.92 | 26 | TRUE
NRCurtailInd | 28.4338 | 57.2348 | 86.6522 | 116.7325 | 146.8881 | 147.3021 | 147.4468 | 147.5351 | 147.7834 | 148.3301 | 148.6594 | 148.6406 | 148.5261 | 148.6619 | 149.074 | 149.7942 | 150.317 | 150.5293 | 150.8478 | 151.1112 | 20.9554 |  |  |  | 0.04 | 0.91 | 20 | TRUE
DVR | 48.4154 | 96.2324 | 144.9321 | 194.9518 | 240.6611 | 298.5504 | 347.0484 | 390.9646 | 437.6856 | 495.7881 | 509.196 | 498.9854 | 513.3138 | 523.879 | 522.9766 | 513.3117 | 523.9523 | 519.9678 | 532.9664 | 538.1002 | 9.8341 |  |  |  | 0.01 | 4.82 | 5 | TRUE
IndRTP | 2.0319 | 4.0901 | 6.1923 | 8.3419 | 10.4969 | 10.5265 | 10.5368 | 10.5431 | 10.5608 | 10.5999 | 10.6234 | 10.6221 | 10.6139 | 10.6236 | 10.6531 | 10.7045 | 10.7419 | 10.7571 | 10.7798 | 10.7987 | 22.9986 |  |  |  | 0.57 | 18.34 | 4.09 | TRUE
ResCPP | 22.555 | 44.7646 | 67.7358 | 91.6626 | 111.6581 | 117.7272 | 117.9992 | 114.7535 | 112.8074 | 116.1523 | 121.1489 | 116.8579 | 121.5306 | 125.4856 | 123.7997 | 119.5871 | 123.0951 | 120.2343 | 124.5316 | 125.0047 | 15.9255 |  |  |  | 0.05 | 15.51 | 0.37 | TRUE
ResTOU | 16.2797 | 32.3101 | 48.8902 | 66.16 | 80.5923 | 84.9729 | 85.1692 | 82.8265 | 81.4219 | 83.8361 | 87.4426 | 84.3454 | 87.7181 | 90.5727 | 89.3559 | 86.3153 | 88.8473 | 86.7824 | 89.8841 | 90.2256 | 40.6855 |  |  |  | 0.07 | 40.11 | 0.51 | TRUE
NRHeatSwchMed | 2.3718 | 4.827 | 7.3431 | 9.9118 | 12.5722 | 12.8016 | 13.0093 | 13.2279 | 13.4592 | 13.665 | 13.8953 | 14.14 | 14.3664 | 14.6398 | 14.8887 | 15.161 | 15.44 | 15.7504 | 16.0171 | 16.2865 | 21.6185 |  |  |  | 0.43 | 12.67 | 8.51 | TRUE
NRHeatSwchSm | 2.9004 | 5.8449 | 8.8203 | 11.8208 | 14.8986 | 15.0597 | 15.1859 | 15.3031 | 15.4286 | 15.5516 | 15.6818 | 15.8146 | 15.955 | 16.1207 | 16.269 | 16.4244 | 16.5813 | 16.7537 | 16.9171 | 17.0594 | 45.6308 |  |  |  | 0.38 | 23.04 | 22.21 | TRUE
ComCPP | 9.8711 | 19.6051 | 29.2693 | 39.0154 | 48.8514 | 49.4383 | 48.7693 | 48.8313 | 49.3243 | 49.7461 | 50.2267 | 50.0933 | 51.0315 | 51.3857 | 52.1013 | 52.0135 | 52.636 | 53.2559 | 54.0298 | 55.0351 | 7.9159 |  |  |  | 0.12 | 6.94 | 0.86 | TRUE
IndCPP | 9.1437 | 18.4054 | 27.8654 | 37.5386 | 47.2359 | 47.369 | 47.4156 | 47.444 | 47.5238 | 47.6996 | 47.8055 | 47.7995 | 47.7626 | 47.8063 | 47.9388 | 48.1704 | 48.3385 | 48.4068 | 48.5092 | 48.594 | 19.3735 |  |  |  | 0.13 | 18.34 | 0.91 | TRUE
NRTstatSm | 2.3702 | 4.7765 | 7.2079 | 9.6599 | 12.1752 | 12.3068 | 12.4099 | 12.5057 | 12.6082 | 12.7088 | 12.8152 | 12.9237 | 13.0385 | 13.1738 | 13.295 | 13.422 | 13.5503 | 13.6911 | 13.8246 | 13.9409 | 35.4488 |  |  |  | 0.47 | 6.08 | 28.9 | TRUE
ResBYOT | 7.6191 | 15.3806 | 23.2984 | 31.3536 | 39.5423 | 39.8836 | 40.2238 | 40.5448 | 40.8728 | 41.1947 | 41.5147 | 41.837 | 42.1468 | 42.4612 | 42.7656 | 43.0643 | 43.367 | 43.6572 | 43.9439 | 44.2298 | 26.5762 |  |  |  | 0.15 | 12.92 | 13.51 | TRUE
ResHeatSwitch | 92.6773 | 187.256 | 283.7042 | 382.0105 | 482.1012 | 486.5781 | 491.0179 | 495.4729 | 499.9792 | 504.5104 | 508.9685 | 513.4442 | 517.9639 | 522.506 | 526.9788 | 531.433 | 535.8647 | 540.2409 | 544.6042 | 548.9468 | 45.2456 |  |  |  | 0.02 | 27.74 | 17.49 | TRUE
ResERWHDLCSwch | 119.4374 | 226.5792 | 320.8125 | 401.5761 | 468.2195 | 433.4101 | 397.6642 | 361.0291 | 323.5453 | 285.2142 | 245.9566 | 205.8437 | 164.8893 | 123.0863 | 109.6567 | 110.7028 | 111.7403 | 112.7623 | 113.7778 | 114.7834 | 60.059 |  |  |  | 0.02 | 37.85 | 22.18 | TRUE
ResERWHDLCGrd | 4.1908 | 18.6695 | 43.8057 | 79.9675 | 127.4964 | 186.6997 | 257.92 | 341.5017 | 437.8188 | 547.2402 | 609.0353 | 671.9496 | 736.0277 | 801.2679 | 828.5176 | 836.4215 | 844.2597 | 851.9821 | 859.6543 | 867.2523 | 52.4658 |  |  |  | 0.01 | 16.69 | 35.76 | TRUE
ResEVSEDLCSwch | 0.9233 | 2.2962 | 4.3023 | 7.0059 | 10.5193 | 12.4804 | 14.639 | 17.0384 | 19.695 | 22.6303 | 25.8608 | 29.4323 | 33.3378 | 37.6202 | 42.3219 | 47.4088 | 52.9334 | 58.9155 | 65.3809 | 72.325 | 145.4303 |  |  |  | 0.21 | 108.51 | 36.71 | TRUE
ResHPWHDLCSwch | 1.1518 | 2.185 | 3.0937 | 3.8725 | 4.5151 | 4.1795 | 3.8348 | 3.4815 | 3.12 | 2.7504 | 2.3718 | 1.985 | 1.5901 | 1.1869 | 1.0574 | 1.0675 | 1.0775 | 1.0874 | 1.0972 | 1.1069 | 227.269 |  |  |  | 2.12 | 141.96 | 83.19 | TRUE
ResHPWHDLCGrd | 0.060619 | 0.27005 | 0.63364 | 1.1567 | 1.8442 | 2.7006 | 3.7308 | 4.9398 | 6.333 | 7.9157 | 8.8096 | 9.7196 | 10.6465 | 11.5902 | 11.9844 | 12.0987 | 12.2121 | 12.3238 | 12.4347 | 12.5446 | 131.9702 |  |  |  | 0.84 | 41.74 | 89.4 | TRUE
0
0
0

## EnergyCalcs
[6 empty] | Hours/quarter | 2166 | 2184 | 2208 | 2208
[7 empty] | Net hours of dispatch |  |  |  | Percent of Capacity |  |  |  | Implied Energy Reduction (aMW)
Product | Bin | Seasonality | Dispatch Assumption (# hours per product) | Shift or Shed? | 2027 Winter Potential (MW) | 2027 Summer Potential (MW) | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
|  | Year-round | 20 | Shift | #N/A | #N/A | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
NRCurtailInd | Bin 2 | Year-round | 20 | Shift | 147.3021 | 169.6697 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
NRIrrLg | Bin 1 | Summer | 20 | Shed | 0 | 309.7953 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 2.8061 | 0
NRIrrSmMed | Bin 1 | Summer | 20 | Shed | 0 | 365.1158 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 3.3072 | 0
ComCPP | Bin 1 | Year-round | 20 | Shed | 49.4383 | 120.4256 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0.22825 | 0 | 1.0908 | 0.22391
IndCPP | Bin 1 | Year-round | 20 | Shed | 47.369 | 105.9503 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0.21869 | 0 | 0.95969 | 0.21453
DVR | Bin 1 | Year-round | 20 | Shed | 298.5504 | 311.1865 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 1.3783 | 0 | 2.8187 | 1.3521
IndRTP | Bin 1 | Year-round | 20 | Shift | 10.5265 | 23.5445 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResCPP | Bin 1 | Year-round | 20 | Shed | 117.7272 | 236.7801 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0.54352 | 0 | 2.1447 | 0.53318
ResTOU | Bin 2 | Year-round | 20 | Shift | 84.9729 | 201.5472 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
NRCoolSwchMed | Bin 2 | Summer | 20 | Shift | 0 | 38.7586 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 0 | 0
NRHeatSwchMed | Bin 2 | Winter | 20 | Shift | 12.8016 | 0 | 10 | 0 | 0 | 10 | 0.4617% | 0% | 0% | 0.4529% | 0 | 0 | 0 | 0
NRCoolSwchSm | Bin 4 | Summer | 20 | Shift | 0 | 13.361 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 0 | 0
NRHeatSwchSm | Bin 3 | Winter | 20 | Shift | 15.0597 | 0 | 10 | 0 | 0 | 10 | 0.4617% | 0% | 0% | 0.4529% | 0 | 0 | 0 | 0
NRTstatSm | Bin 3 | Year-round | 20 | Shift | 12.3068 | 20.264 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResACSwch | Bin 4 | Summer | 20 | Shift | 0 | 170.0279 | 0 | 0 | 20 | 0 | 0% | 0% | 0.9058% | 0% | 0 | 0 | 0 | 0
ResHeatSwitch | Bin 3 | Winter | 20 | Shift | 486.5781 | 0 | 10 | 0 | 0 | 10 | 0.4617% | 0% | 0% | 0.4529% | 0 | 0 | 0 | 0
ResBYOT | Bin 2 | Year-round | 20 | Shift | 39.8836 | 56.8361 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResERWHDLCSwch | Bin 3 | Year-round | 20 | Shift | 433.4101 | 288.9401 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResERWHDLCGrd | Bin 3 | Year-round | 20 | Shift | 186.6997 | 186.6997 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResEVSEDLCSwch | Bin 4 | Year-round | 20 | Shift | 12.4804 | 12.4804 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResHPWHDLCSwch | Bin 4 | Year-round | 20 | Shift | 4.1795 | 3.1346 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
ResHPWHDLCGrd | Bin 4 | Year-round | 20 | Shift | 2.7006 | 1.3503 | 10 | 0 | 20 | 10 | 0.4617% | 0% | 0.9058% | 0.4529% | 0 | 0 | 0 | 0
Season | Shift vs Shed
Year-round | Shift
Summer | Shed
Winter
Note on H3: Tina Jayaweera: Jan-Mar
Note on I3: Tina Jayaweera: Apr-June
Note on J3: Tina Jayaweera: July-Sept
Note on K3: Tina Jayaweera: Oct-Dec
Note on L3: Tina Jayaweera: Jan-Mar
Note on M3: Tina Jayaweera: Apr-June
Note on N3: Tina Jayaweera: July-Sept
Note on O3: Tina Jayaweera: Oct-Dec
Note on P3: Tina Jayaweera: Jan-Mar
Note on Q3: Tina Jayaweera: Apr-June
Note on R3: Tina Jayaweera: July-Sept
Note on S3: Tina Jayaweera: Oct-Dec

## Binning
Bin | Planning Costs ($/kW-yr) | Construction Costs ($/kW-yr) | Fixed O&M Costs ($/kW-yr) | Variable O&M ($/kW-yr) | Total Levelized Cost ($/kW-yr) | Total Potential (MW)
Bin 1 | 0.036771 | 4.0756 | -1.9776 | 150 | 2.1342 | 1936.9186
Bin 2 | 0.08142 | 12.3183 | 0.68933 | 150 | 13.0886 | 554.2715
Bin 3 | 0.023538 | 22.5889 | 18.6884 | 150 | 41.303 | 1571.044
Bin 4 | 0.16293 | 66.799 | 28.9026 | 150 | 95.8675 | 295.2734
Cumulative Potential (MW)
Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
Bin 1 | 266.6481 | 535.0885 | 822.4048 | 1112.8735 | 1391.215 | 1472.7981 | 1532.3414 | 1580.4472 | 1639.7759 | 1719.051 | 1754.0233 | 1745.5471 | 1783.776 | 1819.918 | 1831.5003 | 1826.8752 | 1861.615 | 1868.5608 | 1910.2985 | 1936.9186
Bin 2 | 98.7849 | 197.7978 | 299.2249 | 403.4991 | 501.7357 | 514.3671 | 515.812 | 511.6821 | 510.3127 | 518.1937 | 528.7734 | 522.6944 | 532.5084 | 541.1487 | 540.5963 | 535.5642 | 544.0677 | 541.4016 | 551.0566 | 554.2715
Bin 3 | 223.1098 | 446.2143 | 669.0101 | 891.2775 | 1112.7596 | 1142.0117 | 1182.228 | 1233.9087 | 1297.5469 | 1373.4634 | 1400.7694 | 1428.3635 | 1456.3413 | 1484.7114 | 1503.3546 | 1517.1234 | 1530.8008 | 1544.3274 | 1557.764 | 1571.044
Bin 4 | 36.9524 | 75.1467 | 114.743 | 155.7942 | 198.4276 | 202.7494 | 207.3921 | 212.4516 | 217.983 | 223.9873 | 229.5656 | 235.5095 | 241.829 | 248.5684 | 255.4056 | 262.4861 | 269.9991 | 277.9578 | 286.3896 | 295.2734
Winter Cumulative Potential (MW)
Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
Bin 1 | 92.0171 | 183.0977 | 275.9949 | 371.5103 | 458.9033 | 523.6114 | 571.7694 | 612.5365 | 657.9019 | 719.986 | 739.0006 | 724.3583 | 744.2524 | 759.1803 | 757.4695 | 743.7873 | 758.7639 | 752.6219 | 770.8169 | 777.5326
Bin 2 | 54.7044 | 121.5901 | 183.8566 | 247.7155 | 309.0914 | 314.8109 | 315.296 | 313.6186 | 313.3192 | 317.0626 | 321.8388 | 319.2093 | 323.5701 | 327.3622 | 327.5428 | 325.7406 | 329.7528 | 328.8752 | 333.3161 | 335.0833
Bin 3 | 221.5761 | 443.1261 | 664.3506 | 885.0348 | 1104.8909 | 1134.0545 | 1174.1979 | 1225.8125 | 1289.3802 | 1365.2252 | 1392.4573 | 1419.9758 | 1447.8745 | 1476.1547 | 1494.7172 | 1508.4037 | 1521.9963 | 1535.4302 | 1548.778 | 1561.9828
Bin 4 | 2.1357 | 4.7512 | 8.0296 | 12.0351 | 16.8787 | 19.3605 | 22.2045 | 25.4597 | 29.148 | 33.2964 | 37.0422 | 41.1369 | 45.5744 | 50.3974 | 55.3637 | 60.575 | 66.223 | 72.3266 | 78.9129 | 85.9766
Summer Cumulative Potential (MW)
Bin | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041
Bin 1 | 266.6481 | 535.0885 | 822.4048 | 1112.8735 | 1391.215 | 1472.7981 | 1532.3414 | 1580.4472 | 1639.7759 | 1719.051 | 1754.0233 | 1745.5471 | 1783.776 | 1819.918 | 1831.5003 | 1826.8752 | 1861.615 | 1868.5608 | 1910.2985 | 1936.9186
Bin 2 | 96.4131 | 192.9708 | 291.8818 | 393.5873 | 489.1635 | 501.5655 | 502.8026 | 498.4542 | 496.8535 | 504.5287 | 514.8781 | 508.5544 | 518.142 | 526.509 | 525.7076 | 520.4032 | 528.6277 | 525.6512 | 535.0394 | 537.9849
Bin 3 | 87.7196 | 177.5869 | 269.5482 | 363.5876 | 459.6865 | 495.9039 | 543.4696 | 602.7897 | 674.2907 | 758.33 | 794.1336 | 830.4901 | 867.4592 | 905.056 | 923.5545 | 932.365 | 941.108 | 949.7453 | 958.3168 | 966.7766
Bin 4 | 36.6342 | 74.4655 | 113.6528 | 154.2477 | 196.3767 | 200.3542 | 204.5681 | 209.1114 | 214.0365 | 219.3419 | 224.5679 | 230.1534 | 236.1082 | 242.4766 | 249.1491 | 256.1699 | 263.6237 | 271.5241 | 279.8979 | 288.7243
ENERGY
Bin | Q1 | Q2 | Q3 | Q4
Bin 1 | 0.4524% | 0% | 0.8913% | 0.4438%
Bin 2 | #N/A | #N/A | #N/A | #N/A
Bin 3 | 0% | 0% | 0% | 0%
Bin 4 | 0% | 0% | 0% | 0%
Note on C2: Tina Jayaweera: Setup Costs
Note on D2: Tina Jayaweera: O&M Cost + Fixed incentive
Note on E2: Tina Jayaweera: Equipment + Marketing + One-time incentive
Note on F2: Tina Jayaweera: Variable incentive

## SetupForRPM
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2032 | 2034 | 2036 | 2038 | 2040
Demand Response Price Bin 1 | 266.6481 | 268.4405 | 287.3163 | 290.4687 | 278.3414 | 81.5831 | 59.5433 | 107.4345 | 114.2474 | 29.7527 | 47.7244 | 30.1147 | 48.6835 | Potential Ramp Predictions by RPM Decision Period
Demand Response Price Bin 2 | 98.7849 | 99.0128 | 101.4271 | 104.2742 | 98.2366 | 12.6314 | 1.4448 | -5.4992 | 18.4607 | 3.7349 | 8.088 | 3.4714 | 6.9889
Demand Response Price Bin 3 | 223.1098 | 223.1044 | 222.7959 | 222.2674 | 221.4821 | 29.2521 | 40.2163 | 115.3189 | 103.2224 | 55.5719 | 47.0133 | 27.4463 | 26.9632
Demand Response Price Bin 4 | 36.9524 | 38.1943 | 39.5963 | 41.0512 | 42.6335 | 4.3218 | 4.6427 | 10.5909 | 11.5826 | 12.2634 | 13.5767 | 14.5935 | 16.3905
| <----------------------------------Ramp years-----------------------------------------------> | [5 empty] | <-------------------------------Mostly Replacement Years------------------------>
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2032 | 2034 | 2036 | 2038 | 2040
Demand Response Price Bin 1 | 266.6481 | 535.0885 | 822.4048 | 1112.8735 | 1391.215 | 1472.7981 | 1532.3414 | 1639.7759 | 1754.0233 | 1783.776 | 1831.5003 | 1861.615 | 1910.2985 | Max Acquisitions Check - Potential Study
Demand Response Price Bin 2 | 98.7849 | 197.7978 | 299.2249 | 403.4991 | 501.7357 | 514.3671 | 515.812 | 510.3127 | 528.7734 | 532.5084 | 540.5963 | 544.0677 | 551.0566
Demand Response Price Bin 3 | 223.1098 | 446.2143 | 669.0101 | 891.2775 | 1112.7596 | 1142.0117 | 1182.228 | 1297.5469 | 1400.7694 | 1456.3413 | 1503.3546 | 1530.8008 | 1557.764
Demand Response Price Bin 4 | 36.9524 | 75.1467 | 114.743 | 155.7942 | 198.4276 | 202.7494 | 207.3921 | 217.983 | 229.5656 | 241.829 | 255.4056 | 269.9991 | 286.3896
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2030 | 2032 | 2034 | 2036 | 2038 | 2040
Demand Response Price Bin 1 | 245.4663 | 490.9327 | 736.399 | 981.8654 | 1227.3317 | 1472.7981 | 1718.2644 | 1910.2985 | 1910.2985 | 1910.2985 | 1910.2985 | 1910.2985 | 1910.2985 | Max Acquisitions Check - RPM Inputs
Demand Response Price Bin 2 | 85.7279 | 171.4557 | 257.1836 | 342.9114 | 428.6393 | 514.3671 | 551.0566 | 551.0566 | 551.0566 | 551.0566 | 551.0566 | 551.0566 | 551.0566
Demand Response Price Bin 3 | 190.3353 | 380.6706 | 571.0058 | 761.3411 | 951.6764 | 1142.0117 | 1332.347 | 1522.6823 | 1557.764 | 1557.764 | 1557.764 | 1557.764 | 1557.764
Demand Response Price Bin 4 | 33.7916 | 67.5831 | 101.3747 | 135.1663 | 168.9578 | 202.7494 | 236.541 | 270.3325 | 286.3896 | 286.3896 | 286.3896 | 286.3896 | 286.3896
| Max Acquisitions over study |  | If unit size not 1
Demand Response Price Bin 1 | 1910.2985 |  | 191
Demand Response Price Bin 2 | 551.0566 |  | 55
Demand Response Price Bin 3 | 1557.764 |  | 156
Demand Response Price Bin 4 | 286.3896 |  | 29
| Ramp per Period | Amount Available in first six years | If unit size not 1
Demand Response Price Bin 1 | 245.4663 | 1472.7981 | 25
Demand Response Price Bin 2 | 85.7279 | 514.3671 | 9
Demand Response Price Bin 3 | 190.3353 | 1142.0117 | 19
Demand Response Price Bin 4 | 33.7916 | 202.7494 | 3
New Resource MW
| 1 | 2 | 3 | 4
Bin 1 | 40.14% | 0% | 100% | 40.14%
Bin 2 | 60.45% | 0% | 97.06% | 60.45%
Bin 3 | 99.42% | 0% | 61.54% | 99.42%
Bin 4 | 29.12% | 0% | 97.78% | 29.12%
Unit Size Conversion Capacity | 1 | 2 | 3 | 4
10 | 4.0143 | 0 | 10 | 4.0143 | Demand Response Price Bin 1
10 | 6.0455 | 0 | 9.7062 | 6.0455 | Demand Response Price Bin 2
10 | 9.9423 | 0 | 6.1537 | 9.9423 | Demand Response Price Bin 3
10 | 2.9118 | 0 | 9.7782 | 2.9118 | Demand Response Price Bin 4
New Resource Mwa
| 1 | 2 | 3 | 4
Demand Response Price Bin 1 | 0.4524% | 0% | 0.8913% | 0.4438%
Demand Response Price Bin 2 | #N/A | #N/A | #N/A | #N/A
Demand Response Price Bin 3 | 0% | 0% | 0% | 0%
Demand Response Price Bin 4 | 0% | 0% | 0% | 0%
Unit Size Conversion Energy | 1 | 2 | 3 | 4
10 | 0.04524 | 0 | 0.089132 | 0.044379 | Demand Response Price Bin 1
10 | #N/A | #N/A | #N/A | #N/A | Demand Response Price Bin 2
10 | 0 | 0 | 0 | 0 | Demand Response Price Bin 3
10 | 0 | 0 | 0 | 0 | Demand Response Price Bin 4
|  | 2026 Winter | 2031 Winter | 2041 Winter | 2025 Summer | 2030 Summer | 2040 Summer
Demand Response Price Bin 1 |  | 458.9033 | 719.986 | 777.5326 | 1112.8735 | 1639.7759 | 1910.2985
Demand Response Price Bin 2 |  | 309.0914 | 317.0626 | 335.0833 | 393.5873 | 496.8535 | 535.0394
Demand Response Price Bin 3 |  | 1104.8909 | 1365.2252 | 1561.9828 | 363.5876 | 674.2907 | 958.3168
Demand Response Price Bin 4 |  | 16.8787 | 33.2964 | 85.9766 | 154.2477 | 214.0365 | 279.8979